## Threat scenarios Matrix
In normal operation, open CBs to disrupt power supply | Manipulate GOOSE | Spoofing (FDI) | IED_TRSF1 | Malicious behaviour is triggered only in real operation (not triggered in the test mode or simulation mode)
When faults happen, open more CBs to stop power supply | Manipulate SV | Spoofing (Modify) | IED_TRSF2 | Malicious behaviour is triggered from external signals
When faults happen, Close associated CBs to disable protection | Change IED settings or SCL files | Time delay | IED_FDR | Trigger at random long intervals
When faults happen, delay GOOSE transmitting time to delay protection | Compromise HMI |  | IED_BFP | Trigger at pre-set timestamp (e.g. 2-3 am)
Blind or mislead dispatchers | Interrupt time synchronisation |  |  | Modify event time (T)
Reject control commands (local/remote) from benign operators |  |  |  | Follow the format of benign payloads
Attack goals | Attack carrier | Attack type | Affected IED | "Cloaking" method (avoid detecting) | Label | Combination of threats
[5 empty] | 901 | A1-B1-C1-D1-E1E3 | A1-B1-C1-D2-E1E3
[5 empty] | 902 | A1-B1-C2-D1-E1E3 | A1-B1-C2-D2-E1E3
[5 empty] | 903 | A1-B1-C1-D1-E1E3E6 | A1-B1-C1-D2-E1E3E6
[5 empty] | 904 | A1-B1-C2-D1-E1E3E6 | A1-B1-C2-D2-E1E3E6
[5 empty] | 905 | A2-B1-C1-D1-E1E6 | A2-B1-C1-D2-E1E6
[5 empty] | 906 | A2-B1-C2-D1-E1E6 | A2-B1-C2-D2-E1E6
[5 empty] | 907 | A3-B1-C1-D1-E1E6 | A3-B1-C1-D2-E1E6
[5 empty] | 908 | A3-B1-C1-D1-E1E6 | A3-B1-C1-D2-E1E6
[5 empty] | 909 | A4-B1-C3-D1-E1 | A4-B1-C3-D2-E1
[5 empty] | 911 | Reconnaissance
[5 empty] | 912 | Spread worms